STORAGE WALL

MODULES

Product file

| VISIBLE BACK HEIGHT: 882 mm MODULE ELEVATIONS: i1(e) / k1(e) / s1 | M2. Supply and installation of Dynamobel storage wall, module .... Width: 1,200 mm. Height: 882 mm. Total depth: 438 mm. With visible back and potential use of both sides. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edging. The assembly is finished off with a re-thickened top surface in order to accommodate the 10-mm grooving. The telescopic, galvanised-steel bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| VISIBLE BACK HEIGHT: 2,082 mm MODULE ELEVATIONS: c2 / e2 / g2 / i2 / k2/ p2 / s2 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height: 2,082 mm. Total depth: 438 mm. With visible back and potential use of both sides. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edging. The assembly is finished off with a re-thickened top surface in order to accommodate the 10-mm grooving. The telescopic, galvanised-steel bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| VISIBLE BACK HEIGHT: 2,700 mm MODULE ELEVATIONS: b4(e) / c4(e) / d4 / e4 f4 / g4 / h4 / i4 / k4 j4 / l4 / o4 / p4 / r4 / s4 / t4 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height to false ceiling: 2,700 mm. Total depth: 438 mm. With visible back and potential use of both sides. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edges and 10-mm grooving. Galvanised-steel top and bottom runners. The telescopic bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| VISIBLE BACK VARIABLE HEIGHT (from floor to ceiling) MODULE ELEVATIONS: b5(e) / c5(e) / d5 / e5 f5 / g5 / h5 / i5 / k5 j5 / l5 / o5/ p5 / r5 s5 / t5 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height to false ceiling: ... mm. Total depth: 438 mm. With visible back and potential use of both sides. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edges and 10-mm grooving. Galvanised-steel top and bottom runners. The telescopic bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |  |
| --- | --- | --- |

| HIDDEN BACK HEIGHT: 882 mm MODULE ELEVATIONS: i1(e) / k1(e) / s1 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height: 882 mm. Total depth: 432 mm. With hidden back so as to fit against site wall. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edging. The assembly is finished off with a re-thickened top surface in order to accommodate the 10-mm grooving. The telescopic, galvanised-steel bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| HIDDEN BACK HEIGHT: 2,082 mm MODULE ELEVATIONS: c2 / e2 / g2 / i2 / k2 /p2 / s2 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height: 2,082 mm. Total depth: 432 mm. With hidden back so as to fit against site wall. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edging. The assembly is finished off with a top surface re-thickened in order to accommodate the 10-mm grooving. The telescopic, galvanised-steel bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| HIDDEN BACK HEIGHT: 2,700 mm MODULE ELEVATIONS: b4(e) / c4(e) / d4 / e4 f4 / g4 / h4 / i4 / k4 j4 / l4 / o4 / p4 / r4 s4 / t4 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height to false ceiling: 2,700 mm. Total depth: 432 mm. With hidden back so as to fit against site wall. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edges and 10-mm grooving. Galvanised-steel top and bottom runners. The telescopic bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| HIDDEN BACK VARIABLE HEIGHT (from floor to ceiling) MODULE ELEVATIONS: b5(e) / c5(e) / d5 / e5 / f5 / g5 / h5 / i5 / k5 / j5 / l5 / o5/ p5 / r5 / s5 / t5 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height to false ceiling: ... mm. Total depth: 432 mm. With hidden back so as to fit against site wall. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edges and 10-mm grooving. Galvanised-steel top and bottom runners. The telescopic bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| WITHOUT BACK HEIGHT: 882 mm MODULE ELEVATIONS: i1(e) / k1(e) / s1 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height: 882 mm. Total depth: 419 mm. Without back so as to fit against Dynamobel partitions. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edging. The assembly is finished off with a re-thickened top surface in order to accommodate the 10-mm grooving. The telescopic, galvanised-steel bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| WITHOUT BACK HEIGHT: 2,082 mm MODULE ELEVATIONS: c2 / e2 / g2 / i2 / k2/ p2 / s2 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height: 2,082 mm. Total depth: 419 mm. Without back so as to fit against Dynamobel partitions. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edging. The assembly is finished off with a top surface re-thickened in order to accommodate the 10-mm grooving. The telescopic, galvanised-steel bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor.. |
| --- | --- |

| WITHOUT BACK HEIGHT: 2,700 mm MODULE ELEVATIONS: b4(e) / c4(e) / d4 / e4 f4 / g4 / h4 / i4 / k4 j4 / l4 / o4 / p4 / r4 s4 / t4 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height to false ceiling: 2,700 mm. Total depth: 419 mm. Without back so as to fit against Dynamobel partitions. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edges and 10-mm grooving. Galvanised-steel top and bottom runners. The telescopic bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |

| WITHOUT BACK VARIABLE HEIGHT (fron floor to ceiling) MODULE ELEVATIONS: b5(e) / c5(e) / d5 / e5 f5 / g5 / h5 / i5 / k5/ j5 / l5 / o5/ p5 / r5/ s5 / t5 | M2. Supply and installation of Dynamobel storage wall, module.... Width: 1,200 mm. Height to false ceiling: ... mm. Total depth: 419 mm. Without back so as to fit against Dynamobel partitions. Re-arrangeable with interchangeable modules. Coated with vinyl laminate. Components with 2-mm thick edges and 10-mm grooving. Galvanised-steel top and bottom runners. The telescopic bottom runner can be set via levellers to compensate for +/- 20-mm uneven floor surfaces. Shelves and accessories with double-hard, perimeter edge to house doors and backs. Frame with 32-system bores for shelf adjustment. See diagrams attached for details and dimensions. Quality assurance EN ISO 9001: 2000 certified by LLOYD’S. Includes all parts necessary for installation. Supplied and installed by manufacturer-approved distributor. |
| --- | --- |